FORUM ZL3.14.O42
Type: suspension lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9006 structured. Pendant: steel wire suspension with a transparent cable.
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 4x40W(max 5W LED)
A: 415 mm
B: 80 mm
C: 2000 mm
Weight: 4600 g