AULA AU3.L2.900.XY
Type: wall lamp. Lampshade: acrylic glass. Light body: painted steel plate RAL 9016 (.41), RAL 7012 (.47), RAL Argento dorato (.70), RAL Copper (.72), RAL Bronze (.73), RAL Brass (.74).
Voltage: 230V
IK code: IK06
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 30,7 W
Color temperature: 4000 K
Module luminous flux: 4209 lm
Luminaire luminous flux: 3955 lm
A: 920 mm
B: 120 mm
C: 95 mm
Dali 2: Available
Bluetooth control: Available on inquiry
Weight: 2500 g