MAIA A ZKS.L2A.M620.Y
Type: suspension lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: white painted steel plate. Pendant: white cable.
Voltage: 230V
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 74,3 W
Color temperature: 4000 K
Module luminous flux: 10081 lm
Luminaire luminous flux: 8365 lm
A: 220 mm
B: 620 mm
C: 2000 mm
Dali 2: Available
Bluetooth control: Available on inquiry
Weight: 8200 g