AULA AU1.L4.600.XY
Type: ceiling and wall lamp. Lampshade: acrylic glass. Light body: painted steel plate RAL 9016 (.41), RAL 7012 (.47), RAL Argento dorato (.70), RAL Copper (.72), RAL Bronze (.73), RAL Brass (.74).
Voltage: 230V
IK code: IK06
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 9,1 W
Color temperature: 4000 K
Module luminous flux: 1278 lm
Luminaire luminous flux: 1205 lm
A: 640 mm
B: 125 mm
C: 50 mm
Dali 2: Available
Weight: 1700 g