ZERO S24.11.Z280.Y
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 1x100W(max 13W LED)
A: 280 mm
B: 240 mm
C: 70 mm
D: 20 mm
Motion sensor: Available on inquiry
Weight: 2100 g