ZERO S19.K2.Z230.Y
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 9,6 W
Color temperature: 4000 K
Module luminous flux: 1295 lm
Luminaire luminous flux: 1005 lm
A: 230 mm
B: 190 mm
C: 70 mm
D: 20 mm
Weight: 1400 g