ZERO S24.K2.Z280.Y
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 12,5 W
Color temperature: 4000 K
Module luminous flux: 1771 lm
Luminaire luminous flux: 1380 lm
A: 280 mm
B: 240 mm
C: 70 mm
D: 20 mm
Dali 2: Available
Bluetooth control: Available on inquiry
Weight: 2100 g