DAPHNE S19.11.D280
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 1x75W(max 11W LED)
A: 280 mm
B: 135 mm
C: 20 mm
D: 190 mm
Weight: 2100 g