DAPHNE S19.L1.D280.Y
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 9,1 W
Color temperature: 3000 K
Module luminous flux: 1310 lm
Luminaire luminous flux: 917 lm
A: 280 mm
B: 135 mm
C: 20 mm
D: 190 mm
Dali 2: Available
Weight: 2100 g