POLARIS ZL ZL1.P3.600.XY
Type: suspension lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9003 (.31), RAL chrom (.77) or chrome (.80). Pendant: steel wire suspension with a transparent cable.
Voltage: 230V
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 55,7 W
Color temperature: 3000 K
Module luminous flux: 8480 lm
Luminaire luminous flux: 7632 lm
A: 600 mm
C: 2000 mm
Dali 2: Available
Bluetooth control: Available on inquiry
Weight: 13700 g