POLARIS S BS19.11.280.X
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: painted aluminium - RAL white 9016 (.41), RAL black 9005 (.45), RAL Copper (.72), RAL Bronze (.73) or RAL Brass (.74).
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 1x100W(max 13W LED)
A: 280 mm
B: 190 mm
C: 285 mm
Weight: 2300 g