POLARIS S BS24.11.350.XY
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: painted aluminium - RAL white 9016 (.41), RAL black 9005 (.45), RAL Copper (.72), RAL Bronze (.73) or RAL Brass (.74).
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 1x150W(max 19W LED)
A: 350 mm
B: 240 mm
C: 345 mm
Motion sensor: Available on inquiry
Weight: 3300 g