RETRO BS19.11.R19.X
Type: ceiling lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: painted aluminium - RAL white 9016 (.41), RAL black 9005 (.45), RAL Copper (.72), RAL Bronze (.73) or RAL Brass (.74).
Voltage: 230V
Socket: E27
Lamps: 1x100W(max 13W LED)
A: 190 mm
B: 245 mm
Weight: 2000 g