ALFA SR.L2.200.XY
Type: wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: painted steel plate RAL 9003 (.60) or RAL 9005 (.61).
Voltage: 230V
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 8,3 W
Color temperature: 4000 K
Module luminous flux: 1146 lm
Luminaire luminous flux: 972 lm
A: 255 mm
B: 200 mm
C: 330 mm
Dali 2: Available
Weight: 1500 g