INFINITY UNO S4.K1.IN.XY
Type: wall lamp. Metal parts: painted steel plate RAL 9003 (.31) or RAL 9005 (.61).
Voltage: 230V
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 9,6 W
Color temperature: 3000 K
Module luminous flux: 1237 lm
A: 125 mm
B: 335 mm
C: 40 mm
Dali 2: Available
Bluetooth control: Available on inquiry
Weight: 600 g