PALA ZL4.14.P4.45
Type: suspension lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9005 (.45). Pendant: wire suspension with black cable.
IK code: IK01
Socket: G9
Lamps: 2x60W+1x48W+1x33W(max 4x5W LED)
A: 800 mm
B: 800 mm
C: 2000 mm
D: 200 mm
Weight: 6500 g