PALA ZL4.L1.P4.45Y
Type: suspension lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9005 (.45). Pendant: wire suspension with black cable.
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 25,1 W
Color temperature: 3000 K
Module luminous flux: 3468 lm
Luminaire luminous flux: 2929 lm
A: 800 mm
B: 800 mm
C: 2000 mm
D: 200 mm
Dali 2: Available
Bluetooth control: Available on inquiry
Weight: 6500 g