GEO ZK4.14.G140.61
Type: suspension lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9005 (.61). Pendant: black cable.
IK code: IK01
Socket: G9
Lamps: 4x48W(max 5W LED)
A: 1700 mm
B: 1250 mm
C: 150 mm
D: 150 mm
Weight: 5600 g