ZED ZL3.16.Z80.X
Type: suspension lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9003 (.60) or RAL 9005 (.61). Pendant: white or black cable.
IK code: IK01
Socket: G9
Lamps: 3x33W+3x48W(max 6x5W LED)
A: 900 mm
B: 550 mm
C: 1000 mm
Weight: 8000 g