ZED ZL5.20.Z100.X
Type: suspension lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9003 (.60) or RAL 9005 (.61). Pendant: white or black cable.
IK code: IK01
Socket: G9
Lamps: 5x33W+5x48W(max 10x5W LED)
A: 1050 mm
B: 570 mm
C: 1130 mm
Weight: 11700 g