PALA SR.L2.P1.45.Y
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9005 (.45) or with a reflective highly polished brass-coated disc (.45M).
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 8,3 W
Color temperature: 4000 K
Module luminous flux: 1146 lm
Luminaire luminous flux: 971 lm
A: 365 mm
B: 340 mm
C: 200 mm
Dali 2: Available
Weight: 3000 g