PALA LR.L1.P4.45M.Y
Type: floor lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9005 with a reflective highly polished brass-coated disc (.45M).
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 23,2 W
Color temperature: 3000 K
Module luminous flux: 3205 lm
Luminaire luminous flux: 2693 lm
A: 340 mm
B: 290 mm
C: 1400 mm
Bluetooth control: Available on inquiry
Weight: 9000 g