PALA LR.L2.P1.45M.Y
Type: table lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9005 with a reflective highly polished brass-coated disc (.45M).
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 6,2 W
Color temperature: 4000 K
Module luminous flux: 869 lm
Luminaire luminous flux: 739 lm
A: 255 mm
B: 180 mm
C: 340 mm
Bluetooth control: Available on inquiry
Weight: 2500 g