SEMILUNA ZT6.L1.S200.XY
Type: suspension lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9003 (.60), RAL 9005 (.61), RAL Bronze (.73) or RAL Chrom (.77). Pendant: rod.
Voltage: 230V
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 43,3 W
Color temperature: 3000 K
Module luminous flux: 6576 lm
Luminaire luminous flux: 3946 lm
A: 1050 mm
B: 200 mm
C: 850 mm
Dali 2: Available
Bluetooth control: Available on inquiry
Weight: 17400 g