PRIMA BS34.12.P34.XY
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: painted aluminium RAL 9016 (.41), RAL 9005 (.45), RAL Argento dorato (.70), RAL Bronze (.73) or RAL Brass (.74).
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 2x75W(max 11W LED)
A: 340 mm
B: 120 mm
Motion sensor: Available on inquiry
Weight: 2500 g