PRIMA BS44.14.P44.XY
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: painted aluminium RAL 9016 (.41), RAL 9005 (.45), RAL Argento dorato (.70), RAL Bronze (.73) or RAL Brass (.74).
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 4x75W(max 11W LED)
A: 440 mm
B: 130 mm
Motion sensor: Available on inquiry
Weight: 4400 g