ZED SR.11.Z.X
Type: wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9003 (.60) or RAL 9005 (.61).
Voltage: 230V
IK code: IK01
Socket: G9
Lamps: 1x33W + 1x48W(max 2x5W LED)
A: 380 mm
B: 1025 mm
C: 200 mm
Weight: 3000 g