ZED SR.L1.Z.XY
Type: wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9003 (.60) or RAL 9005 (.61).
Voltage: 230V
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 10,1 W
Color temperature: 3000 K
Module luminous flux: 1348 lm
Luminaire luminous flux: 1132 lm
A: 380 mm
B: 1025 mm
C: 200 mm
Dali 2: Available
Weight: 3000 g