GLOU N3.K2.31Y
Type: wall lamp. Metal parts: painted steel plate RAL 9003, combination (.31) and (.60).
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 19,1 W
Color temperature: 4000 K
Module luminous flux: 2491 lm
Luminaire luminous flux: 1556 lm
A: 260 mm
B: 240 mm
C: 42 mm
Dali 2: Available
Bluetooth control: Available on inquiry
Weight: 2000 g