OMNIA SR1.K1.O2.XY
Type: wall lamp. Lampshade: acrylic glass. Metal parts: painted steel plate RAL 9003 (.60), RAL 9005 (.61)  or RAL 7016 (.62). Pendant: wire suspension.
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 9,6 W
Color temperature: 3000 K
Module luminous flux: 1237 lm
Luminaire luminous flux: 960 lm
A: 1505 mm
B: 140 mm
C: 495 mm
Dali 2: Available
Weight: 4000 g