INFINITY II 22.K1.60Y
Type: suspension lamp. Lampshade: acrylic glass. Metal parts: painted steel plate RAL 9003 (.60). Pendant: wire suspension with white cable. Decorative collar: painted steel plate RAL 9003 (.31), RAL 9005 (.39), RAL Argento dorato (.70) or RAL Brass (.74).
Watt: 74,8 W
Color temperature: 3000 K
Module luminous flux: 9656 lm
Luminaire luminous flux: 6760 lm
A: 2257 mm
B: 924 mm
C: 600 mm
D: 220 mm
E: 600 mm
Dali 2: Available
Emergency module: Available on inquiry
Bluetooth control: Available on inquiry
Weight: 11380 g