BOWL S0.K1.B45.Y
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Ballast: Driver
CRI:  >90
LED life:  L80F10>72000 hodin
Watt: 15,5 W
Color temperature: 3000 K
Module luminous flux: 2450 lm
Luminaire luminous flux: 1856 lm
A: 450 mm
B: 350 mm
C: 110 mm
D: 285 mm
Dali 2: Available
Bluetooth control: Available on inquiry
Weight: 4900 g