BOWL S0.K2.B50.Y
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Ballast: Driver
CRI:  >90
LED life:  L80F10>72000 hodin
Watt: 30,3 W
Color temperature: 4000 K
Module luminous flux: 5009 lm
Luminaire luminous flux: 3799 lm
A: 505 mm
B: 407 mm
C: 110 mm
D: 332 mm
Dali 2: Available
Motion sensor: Available on inquiry
Emergency module: Available on inquiry
Bluetooth control: Available on inquiry
Weight: 7300 g