OMNIA ZT ZT.K1.O2.XY
Type: suspension lamp. Lampshade: acrylic glass. Metal parts: painted steel plate  RAL Copper (.72), RAL Bronze (.73) , RAL Brass (.74), RAL Gold (.71). Pendant: rod. Colour: RAL7016 (62); RAL Gold (71); RAL Copper (72); RAL Bronze (73); RAL Brass (74).
Voltage: 230V
IK code: IK06
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 9,5 W
Color temperature: 3000 K
Module luminous flux: 1349 lm
Luminaire luminous flux: 984 lm
A: 120 mm
B: 37 mm
C: 1500 mm
Dali 2: Available
Bluetooth control: Available on inquiry
Track system: Available on inquiry
Weight: 1500 g