ALFA ZK1.11.115.XY
Type: suspension lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: painted steel plate RAL 9003 (.60) or RAL 9005 (.61). Pendant: white or black cable.
Voltage: 230V
IK code: IK01
Socket: G9
Lamps: 1x33W(max 5W LED)
A: 115 mm
B: 2000 mm
Track system: Available on inquiry
Sádrokarton: Available on inquiry
Weight: 800 g