PIA ZK1.11.P187.Y
Type: suspension lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Metal parts: white painted steel plate. Pendant: transparent cable.
Voltage: 230V
IK code: IK01
Socket: G9
Lamps: 1x48W(max 5W LED)
A: 187 mm
B: 108 mm
C: 2000 mm
Track system: Available on inquiry
Sádrokarton: Available on inquiry
Weight: 1300 g