CAPELLA S24.11.R4.Y
Type: ceiling lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 1x100W(max 13W LED)
A: 280 mm
B: 240 mm
C: 210 mm
Motion sensor: Available on inquiry
Weight: 2900 g