ZERO S34.14.Z415.Y
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 4x40W(max 5W LED)
A: 415 mm
B: 342 mm
C: 80 mm
D: 20 mm
Motion sensor: Available on inquiry
Weight: 4100 g