LEDA S24.11.JS28.Y
Type: ceiling and wall lamp, type S37.xxx only as the ceiling lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 1x100W(max 13W LED)
A: 280 mm
B: 240 mm
C: 170 mm
Motion sensor: Available on inquiry
Weight: 2000 g