FORUM S46.15.O60.Y
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 5x60W(max 9W LED)
A: 600 mm
B: 460 mm
C: 100 mm
D: 20 mm
Motion sensor: Available on inquiry
Weight: 7500 g