CHARON PMMA S44.12.CA4.Y
Type: ceiling and wall lamp. Lampshade: acrylic glass PMMA. Light body: white painted steel plate.
Voltage: 230V
IK code: IK06
Socket: E27
Lamps: 2x60W(max 9W LED)
A: 480 mm
B: 440 mm
C: 160 mm
Motion sensor: Available on inquiry
Weight: 2600 g