CHARON PMMA S26.L1.CA2.Y
Type: ceiling and wall lamp. Lampshade: acrylic glass PMMA. Light body: white painted steel plate.
Voltage: 230V
IK code: IK06
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 16,2 W
Color temperature: 3000 K
Module luminous flux: 2372 lm
Luminaire luminous flux: 1554 lm
A: 300 mm
B: 260 mm
C: 115 mm
Dali 2: Available
Motion sensor: Available on inquiry
Bluetooth control: Available on inquiry
Weight: 1200 g