CHARON S24.12.T12
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 2x60W(max 9W LED)
A: 280 mm
B: 240 mm
C: 125 mm
Weight: 1700 g