POLARIS ZT PE ZT.11.500.XY PE
Type: suspension lamp. Lampshade: polyethylene opal PE. Metal parts: painted steel plate RAL 9003 (.31), RAL 9005 (.61), RAL chrom (.77), chrome (.80), stainless steel (.83) or brass (.84). Pendant: rod.
Voltage: 230V
IK code: IK10
Socket: E27
Lamps: 1x200W(max 24W LED)
A: 500 mm
C: 1000 mm
Track system: Available on inquiry
Weight: 4900 g