MAIA A PMMA ZK.11.M500.Y PA
Type: suspension lamp; ceiling lamp. Lampshade: acrylic glass PMMA. Metal parts: white painted steel plate. Pendant: self-supporting white cable reinforced with a steel wire.
Voltage: 230V
IK code: IK06
Socket: E27
Lamps: 1x150W(max 19W LED)
A: 150 mm
B: 500 mm
C: 2000 mm
Track system: Available on inquiry
Sádrokarton: Available on inquiry
Weight: 1600 g