MAIA PMMA S7.11.M320 PA
Type: ceiling lamp. Lampshade: acrylic glass PMMA opal. Light body: white painted steel plate.
Voltage: 230V
IK code: IK06
Socket: E27
Lamps: 1x100W(max 13W LED)
A: 150 mm
B: 320 mm
C: 360 mm
Weight: 1200 g