MAIA PMMA S1.12W PA
Type: wall lamp. Lampshade: acrylic glass PMMA opal. Light body: white painted steel plate.
Voltage: 230V
IK code: IK06
Socket: E14
Lamps: 2x60W(9W LED)
A: 150 mm
B: 300 mm
C: 75 mm
Weight: 800 g