ASTERION S5.12.A350.0W
Type: wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 2x40W(max 5W LED)
A: 350 mm
B: 165 mm
C: 175 mm
Dali 2: Available
Weight: 1500 g