ASTERION S5.13.A550.0W.Y
Type: wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Socket: E27
Lamps: 3x75W(max 11W LED)
A: 550 mm
B: 230 mm
C: 275 mm
Motion sensor: Available on inquiry
Weight: 4100 g