RONDO IP44 PS13.K1.R450.Y
Type: ceiling and wall lamp. Lampshade: white, hand-blown, three-layered glass, satin opal matt. Light body: white painted steel plate.
Voltage: 230V
IK code: IK01
Ballast: Driver
CRI:  >90
LED life: L80/F10 50000 hours
Watt: 23,3 W
Color temperature: 3000 K
Module luminous flux: 3052 lm
Luminaire luminous flux: 2072 lm
A: 450 mm
B: 342 mm
C: 77 mm
D: 13 mm
Dali 2: Available
Bluetooth control: Available on inquiry
Weight: 4400 g